University fire procedure

|  | On discovering a fire – - Operate the nearest fire alarm call point and - Dial 6300 on a University internal phone - OR dial 0118 378 6300 on a mobile phone - OR dial (0) 999 for the Fire Brigade Your location is: |
| --- | --- |
|  | Only attempt to fight the fire if it is safe to do so. Use an appropriate fire extinguisher. |
|  | - Do not use WATER on ELECTRICAL OR FLAMMABLE LIQUID fires. |
|  | On hearing the fire alarm, leave the building by the nearest available exit. - CLOSE all doors and windows as you leave. |
|  | - DO NOT stop to collect belongings. - DO NOT use the lift. - DO NOT re-enter the building until instructed to do so by the Senior Fire Officer or the Evacuation Officer. |
|  | Go immediately to the ASSEMBLY POINT and report to the Fire Warden/ Evacuation Officer. The assembly point is at: |
|  | Disabled people should remain in the designated Refuge Area and wait for instructions from the Fire Brigade or Evacuation Officer. - Persons accompanying a disabled person must report the presence of a disabled person in a Refuge to the Evacuation Officer. - University Security can be contacted for information by dialling 0118 378 6300 on a mobile phone. |

Fire Notice Issue No. 2, November 2006							Health and Safety Services