LABORATORY SAFETY CHECKLIST

Location:____________________

| QUESTION? | YES | NO | IF NO; ACTION TO BE TAKEN |
| --- | --- | --- | --- |
| Housekeeping: |  |  |  |
| Are corridors, gangways, doors etc. kept clear of obstacles? |  |  |  |
| Is storage racking/shelving secure and not overloaded? |  |  |  |
| Are heavy items stored at lower levels to prevent risk from falling and manual handling? |  |  |  |
| Is there a suitable means by which higher shelves can be accessed e.g. step stool or ladder? |  |  |  |
| Is there unobstructed access to:- |  |  |  |
| Extinguishers/Firedoors/Emergency Exits; |  |  |  |
| Electrical Isolating Switches; |  |  |  |
| Gas Isolation valves; |  |  |  |
| Emergency Showers/Eye Wash/First Aid Boxes? |  |  |  |
| Is rubbish disposed of regularly? |  |  |  |
| Are benches cleaned on at least a daily basis? |  |  |  |
| Is any spillage cleaned up immediately? |  |  |  |
| Are bench/filing cabinet/desk drawers kept closed when not in use? |  |  |  |
| Are cables/hoses secured and not presenting a trip hazard? |  |  |  |
| Is electrical PAT testing up to date? |  |  |  |

| QUESTION? | YES | NO | IF NO; ACTION TO BE TAKEN |
| --- | --- | --- | --- |
| Fire & First Aid Precautions: |  |  |  |
| Are fire extinguishers suitable for chemicals and equipment in use? |  |  |  |
| Are they readily available and regularly checked? |  |  |  |
| Do all staff know the fire alarm sound? |  |  |  |
| Are all staff made aware of fire and emergency procedures? |  |  |  |
| Are there trained First Aiders for the area? |  |  |  |
| Are there clear signs indicating the location of first aid points and the names of first aiders? |  |  |  |
| Are first aid boxes available and their contents regularly checked? |  |  |  |
| Do staff know the accident/incident reporting procedure? |  |  |  |
| Safe Systems of Work: |  |  |  |
| Have risk assessments been compiled for all work activities and are these available to staff? |  |  |  |
| For research/experimental work are potential hazards identified and risk assessments compiled before commencing work? |  |  |  |
| Have all staff been given adequate information, instruction and training to carry out their normal tasks safely? |  |  |  |
| Is there adequate supervision according to student capability? |  |  |  |
| Have COSHH assessments been compiled for all procedures and are these available to staff? |  |  |  |
| Are all the control measures identified by assessments in use? |  |  |  |
| Is 'Good Chemical Practice' being observed? |  |  |  |

| QUESTION? | YES | NO | IF NO; ACTION TO BE TAKEN |
| --- | --- | --- | --- |
| Are fume cupboards and other Local Exhaust Ventilation tests up to date? |  |  |  |
| Are lone worker alarms available and serviceable? |  |  |  |
| Are staff who may be required to work alone familiar with the procedures to be taken and the use of personal alarms? |  |  |  |
| Storage of Chemicals: |  |  |  |
| Are all chemicals classified according to degree of risk or hazard? |  |  |  |
| Are they then stored appropriately (e.g. no incompatible substances in close proximity)? |  |  |  |
| Are flammable solvents stored inside sealed containers inside fire resistant enclosures? |  |  |  |
| Is the storage within the laboratory of these solvents kept to a minimum? |  |  |  |
| Is chemical stock inspected regularly to check for ageing of chemical and/or corrosion of containers? |  |  |  |
| Are issues/returns of chemicals to stores controlled? |  |  |  |
| Are chemical containers correctly labelled? |  |  |  |
| Are redundant chemicals disposed of? |  |  |  |
| Are there proper procedures in place for waste disposal? |  |  |  |
| Gas Cylinders: |  |  |  |
| Are empty/full cylinders correctly handled with due care? |  |  |  |
| Do staff know not to use excessive force to open/close valves? |  |  |  |
| Are all threads kept free from grease, oil and grit? |  |  |  |
| Are cylinders used and stored in secure upright positions? |  |  |  |

| QUESTION? | YES | NO | IF NO; ACTION TO BE TAKEN |
| --- | --- | --- | --- |
| Are these locations away from doors and stores of chemicals and solvents? |  |  |  |
| Are cylinders of flammable, toxic and oxidising gases kept separately from each other i.a.w. local rules? |  |  |  |
| Are acetylene and hydrogen cylinders and pipes protected from heat and shock? |  |  |  |
| Are valves and regulators regularly examined by a competent person and is a register kept? |  |  |  |
| Welfare: |  |  |  |
| Is there suitable and adequate cloakroom space for clothing not worn during working hours? |  |  |  |
| Are cloakroom, lavatories and washrooms adequately cleaned? |  |  |  |
| Is there a supply of clean, hot and cold water, nail brushes, hand cleanser (where identified as necessary) and clean towels or other means provided? |  |  |  |
| Is the non consumption of foodstuffs and drinks in laboratory areas strictly enforced? |  |  |  |
| Is the University Smoking Policy enforced? |  |  |  |

Additional Comments:

Person Completing Check.

Name:_________________________     Signature:__________________________    Date:____________________

Head of Department.

Comments:

Name:_________________________     Signature:__________________________    Date:____________________